Checklist for building on Boschhoek



**Final site and building inspection checklist of HOA of the Boschhoek   
Mountain Estate**

|  |  |  |
| --- | --- | --- |
| **RULE** | **APPROVED BY** | **DATE** |
| **OCCUPATION OF NEW DWELLINGS**  It is compulsory to obtain a HOA Occupation Certificate before occupation of new dwellings.  A HOA Occupation Certificate will only be issued after:  - One set of coloured building plans, approved by HOA and Modimolle Municipality, is submitted to the HOA,  which will be kept for record purposes.  - A final site and building inspection by the HOA and adherence to all guidelines and regulations imposed by the  HOA. | | |
| 1. Swimming pool water discharge will be subject to conditions imposed by the HOA. |  |  |
| 1. Gas installation must certificate by a qualified contractor available |  |  |
| 1. Electrical installation certified by a qualified contractor |  |  |
| 1. The waste water system installed as set out in the Rules and in the position approved by the control architect. |  |  |
| 1. Water meter installed as specified |  |  |
| 1. At least 1 x Fire Hose Reel and 1 x 9kg DCP fire extinguisher per dwelling in a position accessible from the outside when the dwelling is not occupied |  |  |
| 1. The pit braai has a steel lid to extinguished fire to avoid re-ignition and flying sparks. (if applicable) |  |  |
| 1. Proper “Lockable” cage for refuse |  |  |
| 1. Site cleaned and all building rubble removed |  |  |
| 10.Finishes such as roof and wall paint colour comply with rules |  |  |
| 11. a 10m Radius cleared around dwelling |  |  |
| 12.Contractors deposit refunded? If not in full, please state reasons |  |  |
| 13.Building deposit refunded? If not in full, please state reasons |  |  |
| 14.A set of coloured building plans, approved by HOA and Modimolle Municipality received? |  |  |